## Slide 1
Renewable Energy
Orchestrator
AI-Powered Multi-Agent System for Real-Time Grid Optimisation
ET AI Hackathon: Agentic Edition · Problem 4
Presented by Accenture
8
Nodes
7
Agents
480
Simulations
269
Tests Pass
ET AI Hackathon: Agentic Edition · Problem 4 · Renewable Energy Orchestrator

## Slide 2
The Problem
Why renewable energy grids are difficult to manage manually
⚡ Unpredictable Supply
• Solar drops 80% when clouds pass over
• Wind surges without warning
• No operator can react in milliseconds
• Generation swings ±40% in minutes
💰 Volatile Market Prices
• Electricity swings $30 → $160/MWh
• Missing a sell window = lost revenue
• Manual trading decisions are too slow
• Price spikes last only minutes
🔋 Conflicting Objectives
• Charge or discharge batteries?
• Buy from grid or curtail generation?
• Safety vs profit vs carbon — simultaneously
• No single operator can balance all goals
Human operators managing these trade-offs manually create avoidable losses — the grid needs autonomous AI decision-making.
ET AI Hackathon: Agentic Edition · Problem 4 · Renewable Energy Orchestrator

## Slide 3
Our Solution
LangGraph multi-agent orchestration — 7 AI agents, 8 nodes, every 15 minutes
Energy Orchestrator AI
☀️ Solar Data (5 farms)
💨 Wind Data (3 farms)
🔋 Battery BMS (BESS-1/2)
🏭 Grid Demand
💰 Market Prices
🌤️ External / Weather
📋 Decision Brief
✅ HITL Approval
🎯 Resolved Actions
📊 Monte Carlo Scenarios
⚠️ Conflict Alerts
📈 Audit Log
LangGraph State Machine
① Aggregate
▼
② Classify (Sonnet)
▼
③ Quantify (P10/P50/P90)
▼
④ Run 7 Agents (Haiku)
▼
⑤ Resolve Conflicts (Sonnet)
▼
⑥ Monte Carlo (NumPy)
▼
⑦ Report (Sonnet)
ET AI Hackathon: Agentic Edition · Problem 4 · Renewable Energy Orchestrator

## Slide 4
LangGraph State Machine
orchestrator.py — EnergySystemState TypedDict flows through 7 nodes in sequence. Each node reads state, writes its results back.
① aggregate_node
Pure Python
→
Writes:
system_summary {total_gen, net_balance, surplus} · agent_logs[]
▼
② classify_node
Claude Sonnet + Demo fallback
→
Writes:
operational_mode · objective_weights {cost·carbon·reliability·renew·profit} · situation_reasoning
▼
③ quantify_node
Pure Python
→
Writes:
uncertainties {solar/wind/demand/price} each {p10·value·p90·confidence} · risk_appetite · avg_confidence
▼
④ run_agents_node
asyncio.gather() — 7× Claude Haiku + Demo fallback
→
Writes:
agent_outputs {monitor·forecast·battery·market·generation·demand·maintenance} · agent_logs[]
▼
⑤ resolve_node
Claude Sonnet + Demo fallback
→
Writes:
resolved_actions [{category·action·rationale}] · conflicts_detected [] · conflict_reasoning
▼
⑥ simulate_node
NumPy — always runs, no Demo bypass
→
Writes:
simulation_scenarios (Top 3) [{strategy·cost_p10/p50/p90·reliability·carbon·score·battery_action}]
▼
⑦ report_node
Claude Sonnet + Demo fallback
→
Writes:
decision_brief (markdown) · executive_summary (1 sentence)
ET AI Hackathon: Agentic Edition · Problem 4 · Renewable Energy Orchestrator

## Slide 5
7 Parallel Sub-Agents
agents/sub_agents.py — all 7 run simultaneously via asyncio.gather(). Total time = slowest agent, not sum of all 7.
🔍 Monitor Agent
Claude Haiku
• anomalies [{asset·type·severity}]
• fault_count: int
• recommend_emergency: bool
• summary: str
📈 Forecast Agent
Claude Haiku
• next_15min_generation_mw
• next_4hr_avg_generation_mw
• demand_outlook: RISING|STABLE|FALLING
• summary: str
🔋 Battery Agent
Claude Haiku
• actions [{unit_id·action·rate_mw}]
• Actions: CHARGE|DISCHARGE|HOLD|OFFLINE
• Per unit: BESS-1 and BESS-2
• summary: str
💰 Market Agent
Claude Haiku
• action: BUY|SELL|HOLD
• volume_mw: float
• expected_revenue: float
• summary: str
⚡ Generation Agent
Claude Haiku
• curtail_solar_mw: float
• curtail_wind_mw: float
• priority: SOLAR|WIND|BALANCED
• summary: str
🏭 Demand Agent
Claude Haiku
• demand_response_trigger: bool
• shifted_mw: float
• consumers: [IND-1·IND-2·IND-3]
• summary: str
🔧 Maintenance Agent
Claude Haiku
• inspection_dispatch: bool
• deferred_work: [list]
• Defers in EMERGENCY mode
• summary: str
asyncio.gather(monitor, forecast, battery, market, generation, demand, maintenance) — all fire simultaneously
ET AI Hackathon: Agentic Edition · Problem 4 · Renewable Energy Orchestrator

## Slide 6
4 Operational Modes
Situation Classifier (Claude Sonnet) reads system_summary and sets the mode. Objective weights shift automatically. (config.py)
NORMAL
Trigger:
Balanced generation & demand. All assets online.
Objective Weights:
cost 0.25
carbon 0.20
reliability 0.25
renew 0.20
profit 0.10
STRESS
Trigger:
Low solar/wind, battery failure, transmission cap, or demand surge.
Objective Weights:
cost 0.15
carbon 0.10
reliability 0.50
renew 0.10
profit 0.15
EMERGENCY
Trigger:
Battery failure + demand surge + storm. CRISIS scenario.
Objective Weights:
cost 0.05
carbon 0.05
reliability 0.80
renew 0.05
profit 0.05
OPPORTUNITY
Trigger:
Wind surge or price spike — profit window available.
Objective Weights:
cost 0.20
carbon 0.15
reliability 0.15
renew 0.20
profit 0.30
Conflict Priority: Safety > Grid Stability > Cost > Carbon
ET AI Hackathon: Agentic Edition · Problem 4 · Renewable Energy Orchestrator

## Slide 7
8 Operational Scenarios
data/mock_generator.py — each generates realistic sensor data. The AI adapts its mode and decisions automatically.
NORMAL
🟢 NORMAL
Baseline. All assets online. Balanced generation and demand.
Gen: 535 MW
Demand: 409 MW
Balance: +126 MW
Price: $50/MWh
STRESS
☁️ CLOUD_COVER
Solar drops 80%. Battery discharges to cover shortfall.
Gen: 340 MW
Demand: 406 MW
Balance: -67 MW
Price: $54/MWh
OPPORTUNITY
💨 WIND_SURGE
Wind spikes. Charge batteries + export surplus to market.
Gen: 655 MW
Demand: 403 MW
Balance: +252 MW
Price: $31/MWh
OPPORTUNITY
💰 PRICE_SPIKE
Prices at $149/MWh. Discharge stored energy to sell at peak.
Gen: 356 MW
Demand: 401 MW
Balance: -45 MW
Price: $149/MWh
STRESS
🔋 BATTERY_FAILURE
BESS-1 offline. Reliability mode. Only BESS-2 available.
Gen: 545 MW
Demand: 440 MW
Balance: +106 MW
Price: $69/MWh
STRESS
🔌 TRANSMISSION_CAP
Grid export limit hit. Curtail or store surplus locally.
Gen: 543 MW
Demand: 412 MW
Balance: +130 MW
Price: $75/MWh
STRESS
📈 DEMAND_SURGE
Load 40% above forecast. Demand response triggered (125 MW).
Gen: 414 MW
Demand: 572 MW
Balance: -158 MW
Price: $95/MWh
EMERGENCY
🚨 CRISIS
Battery failure + demand surge + storm. 3 conflicts. DR activated.
Gen: 315 MW
Demand: 513 MW
Balance: -198 MW
Price: $154/MWh
ET AI Hackathon: Agentic Edition · Problem 4 · Renewable Energy Orchestrator

## Slide 8
Monte Carlo Simulation
agents/scenario_simulator.py — pure NumPy, no Claude call. Always runs even in Demo Mode.
480
simulations per cycle
30 runs
× 16 cycles (4-hour horizon)
× 6 strategies = 480
6 Strategies Evaluated:
Cost-Optimised
HOLD · no sell · 0% curtail
Profit-Maximised
DISCHARGE · SELL · 0% curtail
Balanced Dispatch
CHARGE · SELL · 10% curtail
Carbon-Minimised
CHARGE · no sell · 20% curtail
Reliability-First
DISCHARGE · no sell · 0% curtail
Emergency Reserve
HOLD · no sell · 30% curtail
Output — Top 3 Strategies Ranked by Weighted Score:
strategy (name)
cost_p10 / cost_p50 / cost_p90 ($)
carbon_p50_tonnes (CO₂)
reliability_p50_pct (%)
curtailment_p50_mwh (MWh)
weighted_score (lower = better)
battery_action: CHARGE|DISCHARGE|HOLD|RESERVE
sell_surplus: bool
ET AI Hackathon: Agentic Edition · Problem 4 · Renewable Energy Orchestrator

## Slide 9
Human-in-the-Loop + Dashboard
dashboard/app.py — Streamlit. Zero actions execute without operator approval.
👤 HITL Checkpoint
Operator sees full Decision Brief + all 7 agent outputs
✅ APPROVE
Execute recommended actions → hitl_approved = True
✏️ OVERRIDE
Type custom instruction → hitl_override = "your text"
Audit Log:
[Aggregator] [Classifier] [Uncertainty]
[MONITOR] [FORECAST] [BATTERY]
[MARKET] [GENERATION] [DEMAND]
[MAINTENANCE] [ConflictResolver]
[Simulator] [Reporter]
agent_logs: Annotated[list[str], operator.add] — LangGraph merges automatically
📊 Streamlit Dashboard Tabs
🎛️ Tab 1: Live Dashboard
KPI cards · Battery SOC gauges · Gen vs Demand bar chart · Objective weights radar · Resolved actions · HITL panel
🤖 Tab 2: Agent Reasoning
Situation classification · Conflicts detected · All 7 agent outputs (expandable JSON) · Full audit log
🔭 Tab 3: Scenarios
Top 3 strategies table · Cost P10/P50/P90 chart · Carbon vs Reliability tradeoff scatter · Strategy detail cards
📋 Tab 4: Decision Brief
Full AI-generated markdown: ## Situation · ## Recommended Actions · ## Risk Assessment
📈 Tab 5: History
Multi-cycle trends: generation·demand·price time series · Mode distribution pie chart
🏆 Tab 6: 9-Blocker
Self-assessment D2/F2 · Per-criterion justification · Evidence summary (269/269 · 8 scenarios · 480 sims)
ET AI Hackathon: Agentic Edition · Problem 4 · Renewable Energy Orchestrator

## Slide 10
Files & Tech Stack
18 Python files written from scratch. No boilerplate. No tutorial code.
Core
• core/state.py — EnergySystemState TypedDict (all 20 fields declared)
• core/__init__.py
Data
• data/mock_generator.py — 8 scenarios, realistic randomised sensor data
• data/__init__.py
Agents
• agents/orchestrator.py — LangGraph state machine, run_cycle()
• agents/situation_classifier.py — Claude Sonnet, 4 modes
• agents/uncertainty_quantifier.py — P10/P50/P90 pure Python
• agents/sub_agents.py — 7× Claude Haiku via asyncio.gather()
• agents/conflict_resolver.py — Claude Sonnet, priority stack
• agents/scenario_simulator.py — 480 Monte Carlo, pure NumPy
• agents/reporting_agent.py — Claude Sonnet, Decision Brief
• agents/demo_mode.py — offline fallback for all 8 scenarios
• agents/__init__.py
Dashboard
• dashboard/app.py — Streamlit, 6 tabs, HITL panel, Plotly charts
• dashboard/__init__.py
Entry / Config
• main.py — CLI, single cycle or --simulate 96 (24-hour)
• config.py — models, weights, Monte Carlo params
• requirements.txt · .env.example · .gitignore · README.md
Tech Stack:
LangGraph ≥0.2.28
anthropic ≥0.40.0
streamlit ≥1.38.0
plotly ≥5.24.0
numpy ≥1.26.0
pandas ≥2.2.0
pydantic ≥2.8.0
python-dotenv ≥1.0.0
ET AI Hackathon: Agentic Edition · Problem 4 · Renewable Energy Orchestrator

## Slide 11
Results & Validation
e2e_validation.py — 7 pipeline stages × 8 scenarios. Every assertion verified against actual code output.
269/269
Tests Passing
8 / 8
Scenarios Validated
480
Simulations/Cycle
0
Conflicts Missed
What Was Validated Per Scenario:
✅ Mock data integrity — generation = solar_mw + wind_mw · net_balance = gen − demand
✅ Situation classification — correct mode + objective weights per scenario
✅ Uncertainty quantification — P10 < P50 < P90 for all 4 data streams
✅ All 7 sub-agents return output with required fields
✅ Conflict resolution — 0 conflicts in NORMAL, 3 conflicts in CRISIS
✅ Monte Carlo — 3 ranked strategies, valid percentile ordering, battery_action correct
✅ Decision brief has ## Situation + ## Recommended Actions sections
✅ Cross-scenario physics: WIND_SURGE > NORMAL wind, CLOUD_COVER solar drops 80%
Per-Scenario Mode Accuracy:
NORMAL
NORMAL
✅
CLOUD_COVER
STRESS
✅
WIND_SURGE
OPPORTUNITY
✅
PRICE_SPIKE
OPPORTUNITY
✅
BATTERY_FAILURE
STRESS
✅
TRANSMISSION_CAP
STRESS
✅
DEMAND_SURGE
STRESS
✅
CRISIS
EMERGENCY
✅
ET AI Hackathon: Agentic Edition · Problem 4 · Renewable Energy Orchestrator

## Slide 12
Live Demo
See the AI orchestrate a full CRISIS scenario in real time
1
NORMAL
Baseline: 535 MW gen
409 MW demand
0 conflicts
→
2
WIND_SURGE
OPPORTUNITY mode:
charge + export
surplus
→
3
PRICE_SPIKE
OPPORTUNITY mode:
sell at $149/MWh
7 agents parallel
→
4
CRISIS
EMERGENCY mode:
3 conflicts resolved
DR triggered
python -m streamlit run dashboard/app.py --server.headless true --browser.gatherUsageStats false
269/269 Tests · 8 Scenarios · 480 Simulations/Cycle · Fully Offline Demo Mode · LangGraph + Claude AI